{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["A标","B标","C标 ","D标","E标","F标 金属软管","G球阀"],"not_rendered":{"external_links":1,"defined_names":14},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"A标","index":0,"n_rows":12,"n_cols":14,"rows_kept":12,"merged":[[0,0,0,2],[1,0,1,13],[2,7,2,13],[7,0,7,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":6},"A标"]
["序号","物料编码","货物名称","型号","单位","单重","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注"]
[1,"0201016023","立式自清洗过滤器","LHPDJ8000-1.6/0.2型    工作压力：1.6MPa Q=8000m3/h  过滤精度0.2mm","台",null,2,{"$nulls":6},"带成套控制装置、带自动排污阀，带进出口配对法兰及连接件，进出口管径DN1000，且进出口距地面高度一样，详见技术说明"]
[2,"0201016024","立式自清洗过滤器","LHPDJ1500-2.5/0.2型  工作压力：2.5MPa，Q=1500m3/h  过滤精度0.2mm","台",null,2,{"$nulls":6},"带成套控制装置、带自动排污阀，带进出口配对法兰及连接件，进出口管径DN400，且进出口距地面高度一样，详见技术说明"]
["合计",{"$nulls":5},4]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":6},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":8},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"B标","index":1,"n_rows":29,"n_cols":14,"rows_kept":29,"merged":[[0,0,0,2],[1,0,1,13],[2,7,2,13],[23,0,23,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":6},"B标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,null,"蝶阀","D344H-16型  DN1000","台",4,{"$nulls":6},"带配对法兰及连接件"]
[2,null,"蝶阀","D344H-16型  DN900","台",1,{"$nulls":6},"带配对法兰及连接件"]
[3,null,"蝶阀","D344H-25型  D400","台",7,{"$nulls":6},"带配对法兰及连接件"]
[4,null,"闸阀","Z45W-25型  D400","台",1,{"$nulls":6},"带配对法兰及连接件"]
[5,null,"闸阀（供热风炉总管）","Z45W-16型  D300","台",1,{"$nulls":6},"带配对法兰及连接件"]
[6,null,"闸阀","Z45W-16型  D300","台",4,{"$nulls":6},"带配对法兰及连接件"]
[7,null,"蝶阀","D344H-16型  D300","台",4,{"$nulls":6},"带配对法兰及连接件"]
[8,null,"蝶阀","D344H-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[9,null,"闸阀","Z45W-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[10,null,"蝶阀","D344H-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[11,null,"闸阀","Z45W-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[12,null,"蝶阀","D344H-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[13,null,"闸阀","Z45W-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[14,null,"蝶阀","D344H-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[15,null,"闸阀","Z45W-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[16,null,"蝶阀","D344H-25型  D150","台",1,{"$nulls":6},"带配对法兰及连接件"]
[17,null,"闸阀","Z45W-25型  D150","台",1,{"$nulls":6},"带配对法兰及连接件"]
[18,null,"蝶阀","D344H-16型  D300","台",2,{"$nulls":6},"带配对法兰及连接件"]
[19,null,"闸阀","Z45W-16型  D300","台",1,{"$nulls":6},"带配对法兰及连接件"]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":6},"¥          元"]
["合计",{"$nulls":4},43]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":8},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"C标 ","index":2,"n_rows":24,"n_cols":14,"rows_kept":24,"merged":[[0,0,0,2],[1,0,1,13],[2,6,2,13],[19,0,19,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":5},"C标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,"0510005002190","对夹蝶阀","D71J-16 DN100","个",5,{"$nulls":6},"带配对法兰","炉顶系统"]
[2,"0510005002191","对夹蝶阀","D71J-16 DN50","个",2,{"$nulls":6},"带配对法兰","炉顶系统"]
[3,"0510005004306","电动阀门","VED941X-10P DN100","个",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[4,"0510006001215","止回阀","H41H-10 DN100","个",2,{"$nulls":6},"带配对法兰","炉顶系统"]
[5,"0510016001005","减压阀","Y43H-16-DN100","个",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[6,"0510021002213","安全阀","A27W-10 DN50","个",1,{"$nulls":6},"带配对法兰；开启压力3kg","炉顶系统"]
[7,"0510004002240","二次均压阀","Q940X-10 DN100","个",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[8,"0510004002241","电动球阀","Q941F-10 DN25","个",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[9,"0510004002242","球阀","Q41F-10 DN40","个",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[10,"0510004002243","球阀","Q41F-10 DN15","个",2,{"$nulls":7},"炉顶系统"]
[11,"0510021002103","安全阀","DN150 CA42Y-16C","套",2,{"$nulls":6},"带配对法兰","炉顶系统"]
[12,"0203007004100","手动蝶阀","D343P-6 DN300","台",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[13,"0203007036","手动眼睛阀","YJF43X-2.5 DN300","台",1,{"$nulls":6},"带配对法兰","炉顶系统"]
[14,"0203007037","逆止阀","HH47X-10  DN300","台",1,{"$nulls":6},"带配对法兰","炉顶系统"]
["合计",{"$nulls":4},22]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":5},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":7},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"D标","index":3,"n_rows":12,"n_cols":14,"rows_kept":12,"merged":[[0,0,0,2],[1,0,1,13],[2,6,2,13],[7,0,7,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":5},"D标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,"0510007002167","电动平衡笼式调节阀","KHCB-16K","台",2,{"$nulls":6},"介质：氮气 DN1.6MPa PN100 阀座直径：100；流量特性：%VF 阀体材质：铸钢；阀芯材质：不锈钢；填料：PTFE  法兰连接，带配对安装法兰 电开式 配ZL6.0智能式电子执行机构（带手轮机构）；防爆EXDIIBT4","炉顶系统"]
[2,"0510007002168","电动精小型V型调节球阀","ZJKV","台",2,{"$nulls":6},"介质：水 DN1.6MPa 公称通径：50 阀座直径：50；流量特性：%VF 阀体材质：铸钢；阀芯材质：不锈钢； 法兰连接，带配对安装法兰 电开式 配ZL6.0智能式电子执行机构（带手轮机构）；防爆EXDIIBT4","炉顶系统"]
["合计"]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":5},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":7},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"E标","index":4,"n_rows":12,"n_cols":14,"rows_kept":12,"merged":[[0,0,0,2],[1,0,1,13],[2,6,2,13],[7,0,7,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":5},"E标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,"0510008001036","液力自动阀","BFDZ701YX2.5型  DN400","台",1,{"$nulls":6},"带配对法兰及连接件","炉体供水总管及供水主环管"]
[]
["合计"]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":5},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":7},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"F标 金属软管","index":5,"n_rows":28,"n_cols":14,"rows_kept":28,"merged":[[0,0,0,2],[1,0,1,13],[2,6,2,13],[23,0,23,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":5},"F标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",34,{"$nulls":7},"冷却壁5-6段前排进水管"]
[2,null,"快速接头金属软管","管道内径：DN40  设计压力：1.6MPa  L=350mm ；（D50x6）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",34,{"$nulls":7},"冷却壁5-7段后排进水管"]
[3,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",34,{"$nulls":7},"冷却壁7-8段前排进水管"]
[4,null,"快速接头金属软管","管道内径：DN40  设计压力：1.6MPa  L=350mm ；（D50x6）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",34,{"$nulls":7},"冷却壁8-10段后排进水管"]
[5,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",34,{"$nulls":7},"冷却壁9-11段前排进水管"]
[6,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1000mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"大套冷却进水管"]
[7,null,"快速接头金属软管","管道内径：DN25 设计压力：1.6MPa  L=1200mm ；（D34x4.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"直吹冷却进水管"]
[8,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",10,{"$nulls":7},"冷却壁4段前排进水管"]
[9,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1000mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"中套冷却进水"]
[10,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1200mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"小套冷却进水"]
[11,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1000mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"大套冷却出水管"]
[12,null,"快速接头金属软管","管道内径：DN25 设计压力：1.6MPa  L=1200mm ；（D34x4.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"直吹冷却出水管"]
[13,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1000mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"中套冷却出水"]
[14,null,"快速接头金属软管","管道内径：DN32 设计压力：1.6MPa  L=1200mm ；（D42x5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",20,{"$nulls":7},"小套冷却出水"]
[15,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",102,{"$nulls":7},"冷却壁5-10段前排出水管"]
[16,null,"快速接头金属软管","管道内径：DN40  设计压力：1.6MPa  L=350mm ；（D50x6）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",68,{"$nulls":7},"冷却壁5-7，8-10段后排出水管"]
[17,null,"快速接头金属软管","管道内径：DN50  设计压力：1.6MPa  L=350mm ；（D63x6.5）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",102,{"$nulls":7},"冷却壁5-10段前排管连接管"]
[18,null,"快速接头金属软管","管道内径：DN40  设计压力：1.6MPa  L=350mm ；（D50x6）接头为外螺纹，材质304不锈钢，带配套开启式快速接头和外螺纹接头","根",136,{"$nulls":7},"冷却壁5-11段后排管连接管"]
["合计"]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":5},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":7},"2021年  月  日于首钢长钢（山西长治）"]

{"sheet":"G球阀","index":6,"n_rows":16,"n_cols":14,"rows_kept":16,"merged":[[0,0,0,2],[1,0,1,13],[2,6,2,13],[11,0,11,3]],"flags":["formulas_cached_only"]}
["附件3："]
["投 标 货 物 数 量 及 价 目 表"]
["招标编号：长招办2021-188",{"$nulls":5},"G标"]
["序号","物料编码","货物名称","型号","单位","招标量","投标量","单价  \n（元）","合计（元）","付款方式","报价货物品牌/厂家","交货期","备注","使用部位"]
[1,null,"球阀（超短型）","Q41F-25型 DN50 带配对法兰及连接件","个",40,{"$nulls":7},"中压净环水"]
[2,null,"球阀（超短型）","Q41F-25型 DN32 带配对法兰及连接件","个",40,{"$nulls":7},"中压净环水"]
[3,null,"蝶阀","D344H-25型  DN200","个",4,{"$nulls":7},"高压净环水"]
[4,null,"球阀","Q41F-25C型 DN32 带配对法兰及连接件","个",40,{"$nulls":7},"高压净环水"]
[5,null,"三通球阀","Q45F-25Q型 DN65 带配2片法兰及3套连接件","个",8,{"$nulls":7},"高压净环水"]
[6,null,"法兰盖","DN65 2.5MPa","个",8]
["合计"]
[" 投标总价：    拾  万  仟  佰  拾  元整（大写） ",{"$nulls":5},"¥          元"]
[null,"注：1、单价为含税到厂承兑价，一票结算，税率13%；"]
[null,"2、报价附电子版，不报价的项数不得删除。"]
[null,"3、报价时请务必注明付款方式，交货期；"]
[null,"投标人（章）：",{"$nulls":7},"2021年  月  日于首钢长钢（山西长治）"]